# Software Development Plan

SPMS-SDP-001 | Version 1.0 | 10 October 2026 | PROPOSED / NOT APPROVED

## Purpose and scope

Educational synthetic-only SPMS, one-process local-first modular monolith. No actual FDA classification, clearance or conformity claim. This plan governs SRS, architecture, detailed design, risk, verification, change control and release evidence.

## Lifecycle and responsibilities

Iterative requirements→risk analysis→architecture→detailed design→test-first implementation→verification→review→release. Roles: Requirements owner approves behavior; engineering owner approves design; independent reviewer (mentor where available) reviews risk controls and verification; release owner approves educational release. One person may hold multiple roles but records the role performed.

## Configuration and change control

Use versioned document IDs, source-control commits, reviewed pull requests, locked dependency manifests, immutable CI artifacts and a change log. Every change identifies affected requirements, risk controls, architecture, tests, cybersecurity and privacy assumptions. Unresolved issues are tracked as anomalies.

## Engineering quality gates

TDD red-green-refactor; Ruff formatting/lint, mypy, pytest unit/integration, Vitest/Playwright frontend, security scans, secret scans and dependency scans. Python statement coverage ≥90%, branch coverage reported, all safety-critical transitions tested, all linked risk controls verified.

## Release and maintenance

Before educational release: requirements and risk reviews approved, critical test cases pass, security findings dispositioned, exact-version SBOM produced, deployment mode tested, rollback exercise recorded, open anomalies reviewed. Monitor dependency advisories after release; maintain issue and vulnerability triage records. No clinical deployment.

## Applicability assessment

IEC 62304 and ISO 14971 are engineering reference frameworks; actual edition/clause conformity and software safety class not established. FDA Feb 2026 and MDCG 2019-16 are guidance; EU MDR and GDPR require separate jurisdictional and product/data applicability decisions. Record assumptions and reviewer signoff.

## Review record

Owner: TBD | Reviewer: TBD | Approval date: PENDING | Evidence status: NOT RUN